## Buses
bus_id2 | bus_id | name | vn_kv | geodata | bus type | Trafo?
0 | 0 | Ibiza (+ Formentura) | 132 | (1.430833, 38.91917) | gen/load | N
1l | 1 | Santa Ponca (132) | 132 | (2.506454, 39.53525) | load | Y, LV
1h | 2 | Santa Ponca (220) | 220 | (2.507937, 39.53662) | ext_grid | Y, HV
2 | 3 | Valldurgent | 220 | (2.549167, 39.58417) | load | N
3 | 4 | Son Reus | 220 | (2.678889, 39.65083) | gen/load | N
4h | 5 | Portol (Cas Tresorer) (220) | 220 | (2.724617, 39.56686) | gen | Y, HV
4l | 6 | Portol (Cas Tresorer) (66) | 66 | (2.724617, 39.56686) | load | Y, LV
5 | 7 | Son Orlandis | 220 | (2.744444, 39.60028) | load | N
6 | 8 | Llubi | 220 | (3.039444, 39.67333) | load | N
7 | 9 | Murterar | 220 | (3.0925, 39.80944) | load/gen | N
8h | 10 | Es Bessons (220) | 220 | (3.158056, 39.58194) | bus | Y, HV
8l | 11 | Es Bessons (132) | 132 | (3.159638, 39.58209) | load | N, LV
9 | 12 | Cala Mesquida | 132 | (3.427024, 39.73827) | load | N
10 | 13 | Cala en Bosch | 132 | (3.834227, 39.93175) | load | N
11 | 14 | Cuitadella | 132 | (3.855278, 40.00333) | load | N
12 | 15 | Es Mercadal | 132 | (4.095556, 39.97694) | load | N
13 | 16 | Dragonera | 132 | (4.236667, 39.89111) | load | N
14 | 17 | Mao | 132 | (4.258155, 39.89706) | gen/load | N

## Loads at 1303
Location | bus_id2 | bus_id | name | vn_kv | population | demand_share | summer_p_mw | summer_q_mvar | summer_s | winter_p_mw | winter_q_mvar | winter_s
Ibiza | 0 | 0 | Ibiza (+ Formentura) | 132 | 160000 | 0.1346 | 175.4296 | 84.9644 | 194.9218 | 128.7112 | 62.3377 | 143.0124
Majorca | 1l | 1 | Santa Ponsa (132) | 132 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 2 | 3 | Valldurgent | 220 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 3 | 4 | Son Reus | 220 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 4l | 6 | Portol (Cas Tresorer) (66) | 66 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 5 | 7 | Son Orlandis | 220 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 6 | 8 | Llubi | 220 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 7 | 9 | Murterar | 220 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 8l | 11 | Es Bessons (132) | 132 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 9 | 12 | Cala Mesquida | 132 | 103111 | 0.0868 | 113.0546 | 54.7549 | 125.6163 | 82.9472 | 40.1732 | 92.1636
Majorca | 10 | 13 | Cala en Bosch | 132 | 7000 | 0.0059 | 7.675 | 3.7172 | 8.5278 | 5.6311 | 2.7273 | 6.2568
Minorca | 11 | 14 | Cuitadella | 132 | 29840 | 0.0251 | 32.7176 | 15.8459 | 36.3529 | 24.0046 | 11.626 | 26.6718
Minorca | 12 | 15 | Es Mercadal | 132 | 20285 | 0.0171 | 22.2412 | 10.7719 | 24.7124 | 16.3182 | 7.9032 | 18.1313
Minorca | 13 | 16 | Dragonera | 132 | 14232 | 0.012 | 15.6045 | 7.5576 | 17.3383 | 11.4489 | 5.5449 | 12.721
Minorca | 14 | 17 | Mao | 132 | 29040 | 0.0244 | 31.8405 | 15.421 | 35.3783 | 23.3611 | 11.3143 | 25.9568

## Loads at average
Location | bus_id2 | bus_id | name | vn_kv | population | demand_share | average_p_mw | average_q_mvar
Ibiza | 0 | 0 | Ibiza (+ Formentura) | 132 | 160000 | 0.1346 | 144.695 | 70.079
Majorca | 1l | 1 | Santa Ponsa (132) | 132 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 2 | 3 | Valldurgent | 220 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 3 | 4 | Son Reus | 220 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 4l | 6 | Portol (Cas Tresorer) (66) | 66 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 5 | 7 | Son Orlandis | 220 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 6 | 8 | Llubi | 220 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 7 | 9 | Murterar | 220 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 8l | 11 | Es Bessons (132) | 132 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 9 | 12 | Cala Mesquida | 132 | 103111 | 0.0868 | 93.31 | 45.1921
Majorca | 10 | 13 | Cala en Bosch | 132 | 7000 | 0.0059 | 6.3425 | 3.0718
Minorca | 11 | 14 | Cuitadella | 132 | 29840 | 0.0251 | 26.9825 | 13.0682
Minorca | 12 | 15 | Es Mercadal | 132 | 20285 | 0.0171 | 18.3825 | 8.9031
Minorca | 13 | 16 | Dragonera | 132 | 14232 | 0.012 | 12.9 | 6.2478
Minorca | 14 | 17 | Mao | 132 | 29040 | 0.0244 | 26.23 | 12.7038

## Generators
island | name | bus_connection | capacity_mw | actual_gen_pro_rata | pro_rata_gen | Geodata
Ibiza+Fomentera | Elvissa+Saint Francesco | 0 | 306 | 230.7 | 208.6436 | (38.919167, 1.430833)
Mallorca | Son Reus | 4 | 432.8 | 303.0173 | 295.1012 | (39.648611, 2.680000)
Mallorca | Cas Tresorer | 5 | 400 | 280.0529 | 272.7368 | (39.567500, 2.689444)
Mallorca | Murterar | 9 | 527.8 | 369.5298 | 359.8762 | (39.809722, 3.091944)
Menorca | Mahon (Mao) | 17 | 245 | 113.2 | 167.0513 | (39.896944, 4.258611)

## Generators average
island | name | bus_connection | capacity_mw | actual_gen_pro_rata | pro_rata_gen | average_gen_pro_rata | Geodata
Ibiza+Fomentera | Elvissa+Saint Francesco | 0 | 306 | 230.7 | 208.6436 | 190.3319 | (38.919167, 1.430833)
Mallorca | Son Reus | 4 | 432.8 | 303.0173 | 295.1012 | 249.9951 | (39.648611, 2.680000)
Mallorca | Cas Tresorer | 5 | 400 | 280.0529 | 272.7368 | 231.049 | (39.567500, 2.689444)
Mallorca | Murterar | 9 | 527.8 | 369.5298 | 359.8762 | 304.8692 | (39.809722, 3.091944)
Menorca | Mahon (Mao) | 17 | 245 | 113.2 | 167.0513 | 93.3922 | (39.896944, 4.258611)

## Lines
index | from_bus | to_bus | length_km | cable_type | bundle_no | Dm | A | Rb | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | max_i_ka | cables | voltage | location | geo_from | geo_to
0 | 0 | 1 | 126 | Biggest |  |  | 500 |  | 0.088333 | 0.13188 | 1.6e-09 | 0.43 | 1 | 132 | underwater | (1.430833, 38.91917) | (2.506454, 39.53525)
1 | 2 | 3 | 5.5997 | swan | 2 | 11 | 33.6 | 0.03569 | 0.44623 | 0.36007 | 1e-09 | 0.195 | 3 | 220 | overhead | (2.507937, 39.53662) | (2.549167, 39.58417)
2 | 3 | 4 | 15.0251 | quail | 2 | 11 | 67.33 | 0.042464 | 0.14217 | 0.34916 | 1e-09 | 0.295 | 3 | 220 | overhead | (2.549167, 39.58417) | (2.678889, 39.65083)
3 | 3 | 4 | 14.8977 | quail | 2 | 11 | 67.33 | 0.042464 | 0.14217 | 0.34916 | 1e-09 | 0.295 | 3 | 220 | overhead | (2.549167, 39.58417) | (2.678889, 39.65083)
4 | 4 | 7 | 9.4179 | swan | 2 | 11 | 21.12 | 0.031779 | 0.44623 | 0.36737 | 1e-09 | 0.145 | 3 | 220 | overhead | (2.678889, 39.65083) | (2.744444, 39.60028)
5 | 4 | 8 | 33.8304 | swan | 2 | 11 | 21.12 | 0.031779 | 0.44623 | 0.36737 | 1e-09 | 0.145 | 3 | 220 | overhead | (2.678889, 39.65083) | (3.039444, 39.67333)
6 | 7 | 5 | 4.3577 | pelican | 2 | 11 | 200.9 | 0.042464 | 0.0478 | 0.34916 | 1e-09 | 0.645 | 3 | 220 | overhead | (2.744444, 39.60028) | (2.724617, 39.56686)
7 | 7 | 8 | 28.9062 | swan | 2 | 11 | 67.33 | 0.042464 | 0.14217 | 0.34916 | 1e-09 | 0.295 | 3 | 220 | overhead | (2.744444, 39.60028) | (3.039444, 39.67333)
8 | 8 | 9 | 16.7702 | PARTRIDGE | 2 | 11 | 134.9 | 0.050521 | 0.071533 | 0.33824 | 1e-09 | 0.49 | 3 | 220 | overhead | (3.039444, 39.67333) | (3.0925, 39.80944)
9 | 8 | 9 | 16.0636 | PARTRIDGE | 2 | 11 | 134.9 | 0.050521 | 0.071533 | 0.33824 | 1e-09 | 0.49 | 3 | 220 | overhead | (3.039444, 39.67333) | (3.0925, 39.80944)
10 | 8 | 10 | 15.1772 | WAXWING | 2 | 11 | 107.22 | 0.047702 | 0.0723 | 0.34185 | 1e-09 | 0.48 | 3 | 220 | overhead | (3.039444, 39.67333) | (3.158056, 39.58194)
11 | 8 | 10 | 14.9541 | WAXWING | 2 | 11 | 107.22 | 0.047702 | 0.0723 | 0.34185 | 1e-09 | 0.48 | 3 | 220 | overhead | (3.039444, 39.67333) | (3.158056, 39.58194)
12 | 11 | 12 | 30.2764 | lark | 2 | 8.75 | 200.9 | 0.05581 | 0.0478 | 0.31761 | 1e-09 | 0.645 | 3 | 132 | overhead | (3.159638, 39.58209) | (3.427024, 39.73827)
13 | 12 | 13 | 52.942 | Biggest |  |  | 300 |  | 0.088333 | 0.13188 | 1.6e-09 | 0.43 | 1 | 132 | underwater | (3.427024, 39.73827) | (3.834227, 39.93175)
14 | 13 | 14 | 8.2014 | swan | 2 | 8.75 | 85.12 | 0.045027 | 0.11287 | 0.3311 | 1e-09 | 0.34 | 3 | 132 | overhead | (3.834227, 39.93175) | (3.855278, 40.00333)
15 | 14 | 16 | 35.5456 | swan | 2 | 8.75 | 85.12 | 0.045027 | 0.08465 | 0.3311 | 1e-09 | 0.34 | 4 | 132 | overhead | (3.855278, 40.00333) | (4.236667, 39.89111)
16 | 14 | 15 | 21.1322 | swan | 2 | 8.75 | 85.12 | 0.045027 | 0.11287 | 0.3311 | 1e-09 | 0.34 | 3 | 132 | overhead | (3.855278, 40.00333) | (4.095556, 39.97694)
17 | 15 | 16 | 15.4394 | swan | 2 | 8.75 | 85.12 | 0.045027 | 0.11287 | 0.3311 | 1e-09 | 0.34 | 3 | 132 | overhead | (4.095556, 39.97694) | (4.236667, 39.89111)
18 | 16 | 17 | 4.7127 | pelican | 2 | 8.75 | 242.3 | 0.058486 | 0.040567 | 0.31466 | 1e-09 | 0.7 | 3 | 132 | overhead | (4.236667, 39.89111) | (4.258155, 39.89706)

## Changing line values
cable used: |  | Area | Resistance at 25 | Inductance | Capacitance | max_i_ka | type
page 4, Condor from :https://www.elandcables.com/media/38193/acsr-astm-b-aluminium-conductor-steel-reinforced.pdf | OVERHEAD | 21.12 | 1.3387 | N/A | 1e-09 | 0.145 | swan
page 8, Table 48, :https://new.abb.com/docs/default-source/ewea-doc/xlpe-submarine-cable-systems-2gm5007.pdf | MARINE | 300 | N/A | 0.42 | 1.6e-09 | 0.43
|  | 85.12 | 0.3386 |  | 1e-09 | 0.34 | pegion
|  | 134.9 | 0.2146 |  | 1e-09 | 0.49 | PARTRIDGE
|  | 242.3 | 0.1217 |  | 1e-09 | 0.7 | pelican
|  | 107.22 | 0.2169 |  | 1e-09 | 0.48 | WAXWING
|  | 200.9 | 0.1434 |  | 1e-09 | 0.645 | lark
|  | 67.33 | 0.4265 |  | 1e-09 | 0.295 | quail
|  | 33.6 | 0.8527 |  | 1e-09 | 0.195 | sparrow
|  | 67.33 | 0.4265 |  | 1e-09 | 0.295 | quail
|  | 200.9 | 0.1434 |  | 1e-09 | 0.645 | lark
Note: capacitance for overheads is assumed, just use that for all of them, he is not even asking for it in the tables | note: for marine cable we used a 150kv cable rather than 132 for safety

## solar calcs
Seguimiento de la demanda de energía eléctrica (MW)
|  |  |  | Average demand | 1075.7639
Hora | Real | Prevista | Programada | daily energy needed | 25818.3333
2019-08-08 21:00 | 1245 | 1262 | 1254 | 80% | 20654.6667
2019-08-08 21:10 | 1260 | 1269 | 1254 | cap factor | 22%
2019-08-08 21:20 | 1262 | 1270 | 1254 | installed cap needed | 4303.0556 | MW
2019-08-08 21:30 | 1255 | 1264 | 1254
2019-08-08 21:40 | 1242 | 1251 | 1254 | land per MW | 0.02 | km2
2019-08-08 21:50 | 1232 | 1232 | 1254 | total land | 86.0611
2019-08-08 22:00 | 1217 | 1206 | 1132
2019-08-08 22:10 | 1195 | 1178 | 1132
2019-08-08 22:20 | 1176 | 1152 | 1132
2019-08-08 22:30 | 1159 | 1128 | 1132 | ibiza and fom | 230.7
2019-08-08 22:40 | 1142 | 1107 | 1132 | mallorca | 303.0173
2019-08-08 22:50 | 1129 | 1088 | 1132 | mallorca | 280.0529
2019-08-08 23:00 | 1109 | 1070 | 1021 | mallorca | 369.5298
2019-08-08 23:10 | 1087 | 1054 | 1021 | menorca | 113.2
2019-08-08 23:20 | 1071 | 1038 | 1021
2019-08-08 23:30 | 1054 | 1021 | 1021
2019-08-08 23:40 | 1033 | 1004 | 1021
2019-08-08 23:50 | 1015 | 987 | 1021
2019-08-09 | 994 | 969 | 919
2019-08-09 00:10 | 970 | 951 | 919
2019-08-09 00:20 | 950 | 934 | 919
2019-08-09 00:30 | 936 | 918 | 919
2019-08-09 00:40 | 920 | 902 | 919
2019-08-09 00:50 | 903 | 888 | 919
2019-08-09 01:00 | 888 | 874 | 838
2019-08-09 01:10 | 875 | 861 | 838
2019-08-09 01:20 | 861 | 848 | 838
2019-08-09 01:30 | 849 | 837 | 838
2019-08-09 01:40 | 838 | 826 | 838
2019-08-09 01:50 | 828 | 817 | 838
2019-08-09 02:00 | 816 | 808 | 784
2019-08-09 02:10 | 809 | 800 | 784
2019-08-09 02:20 | 799 | 792 | 784
2019-08-09 02:30 | 789 | 784 | 784
2019-08-09 02:40 | 786 | 776 | 784
2019-08-09 02:50 | 781 | 769 | 784
2019-08-09 03:00 | 773 | 762 | 745
2019-08-09 03:10 | 766 | 755 | 745
2019-08-09 03:20 | 762 | 749 | 745
2019-08-09 03:30 | 759 | 744 | 745
2019-08-09 03:40 | 752 | 740 | 745
2019-08-09 03:50 | 748 | 736 | 745
2019-08-09 04:00 | 739 | 733 | 728
2019-08-09 04:10 | 736 | 731 | 728
2019-08-09 04:20 | 736 | 729 | 728
2019-08-09 04:30 | 730 | 727 | 728
2019-08-09 04:40 | 729 | 726 | 728
2019-08-09 04:50 | 723 | 726 | 728
2019-08-09 05:00 | 724 | 725 | 732
2019-08-09 05:10 | 729 | 726 | 732
2019-08-09 05:20 | 727 | 727 | 732
2019-08-09 05:30 | 729 | 730 | 732
2019-08-09 05:40 | 730 | 734 | 732
2019-08-09 05:50 | 737 | 739 | 732
2019-08-09 06:00 | 745 | 746 | 777
2019-08-09 06:10 | 758 | 754 | 777
2019-08-09 06:20 | 768 | 763 | 777
2019-08-09 06:30 | 774 | 775 | 777
2019-08-09 06:40 | 776 | 788 | 777
2019-08-09 06:50 | 784 | 802 | 777
2019-08-09 07:00 | 794 | 819 | 878
2019-08-09 07:10 | 820 | 837 | 878
2019-08-09 07:20 | 835 | 856 | 878
2019-08-09 07:30 | 855 | 876 | 878
2019-08-09 07:40 | 880 | 897 | 878
2019-08-09 07:50 | 890 | 919 | 878
2019-08-09 08:00 | 922 | 943 | 1011
2019-08-09 08:10 | 954 | 966 | 1011
2019-08-09 08:20 | 977 | 989 | 1011
2019-08-09 08:30 | 998 | 1012 | 1011
2019-08-09 08:40 | 1018 | 1033 | 1011
2019-08-09 08:50 | 1040 | 1055 | 1011
2019-08-09 09:00 | 1063 | 1075 | 1130
2019-08-09 09:10 | 1087 | 1095 | 1130
2019-08-09 09:20 | 1110 | 1114 | 1130
2019-08-09 09:30 | 1131 | 1131 | 1130
2019-08-09 09:40 | 1151 | 1148 | 1130
2019-08-09 09:50 | 1166 | 1163 | 1130
2019-08-09 10:00 | 1183 | 1177 | 1205
2019-08-09 10:10 | 1198 | 1189 | 1205
2019-08-09 10:20 | 1208 | 1199 | 1205
2019-08-09 10:30 | 1219 | 1208 | 1205
2019-08-09 10:40 | 1221 | 1215 | 1205
2019-08-09 10:50 | 1225 | 1220 | 1205
2019-08-09 11:00 | 1228 | 1223 | 1233
2019-08-09 11:10 | 1237 | 1226 | 1233
2019-08-09 11:20 | 1236 | 1229 | 1233
2019-08-09 11:30 | 1240 | 1232 | 1233
2019-08-09 11:40 | 1240 | 1236 | 1233
2019-08-09 11:50 | 1240 | 1240 | 1233
2019-08-09 12:00 | 1247 | 1245 | 1258
2019-08-09 12:10 | 1255 | 1249 | 1258
2019-08-09 12:20 | 1255 | 1254 | 1258
2019-08-09 12:30 | 1261 | 1258 | 1258
2019-08-09 12:40 | 1265 | 1262 | 1258
2019-08-09 12:50 | 1271 | 1267 | 1258
2019-08-09 13:00 | 1277 | 1270 | 1278
2019-08-09 13:10 | 1279 | 1274 | 1278
2019-08-09 13:20 | 1289 | 1277 | 1278
2019-08-09 13:30 | 1297 | 1279 | 1278
2019-08-09 13:40 | 1295 | 1280 | 1278
2019-08-09 13:50 | 1292 | 1281 | 1278
2019-08-09 14:00 | 1292 | 1281 | 1273
2019-08-09 14:10 | 1288 | 1280 | 1273
2019-08-09 14:20 | 1289 | 1278 | 1273
2019-08-09 14:30 | 1282 | 1275 | 1273
2019-08-09 14:40 | 1280 | 1270 | 1273
2019-08-09 14:50 | 1275 | 1265 | 1273
2019-08-09 15:00 | 1271 | 1259 | 1244
2019-08-09 15:10 | 1257 | 1252 | 1244
2019-08-09 15:20 | 1256 | 1247 | 1244
2019-08-09 15:30 | 1247 | 1242 | 1244
2019-08-09 15:40 | 1241 | 1239 | 1244
2019-08-09 15:50 | 1232 | 1237 | 1244
2019-08-09 16:00 | 1237 | 1236 | 1237
2019-08-09 16:10 | 1238 | 1235 | 1237
2019-08-09 16:20 | 1234 | 1236 | 1237
2019-08-09 16:30 | 1235 | 1236 | 1237
2019-08-09 16:40 | 1235 | 1238 | 1237
2019-08-09 16:50 | 1238 | 1239 | 1237
2019-08-09 17:00 | 1236 | 1242 | 1248
2019-08-09 17:10 | 1240 | 1244 | 1248
2019-08-09 17:20 | 1248 | 1246 | 1248
2019-08-09 17:30 | 1250 | 1249 | 1248
2019-08-09 17:40 | 1253 | 1251 | 1248
2019-08-09 17:50 | 1250 | 1253 | 1248
2019-08-09 18:00 | 1254 | 1256 | 1265
2019-08-09 18:10 | 1264 | 1258 | 1265
2019-08-09 18:20 | 1264 | 1261 | 1265
2019-08-09 18:30 | 1265 | 1264 | 1265
2019-08-09 18:40 | 1269 | 1268 | 1265
2019-08-09 18:50 | 1271 | 1273 | 1265
2019-08-09 19:00 | 1273 | 1278 | 1278
2019-08-09 19:10 | 1274 | 1282 | 1278
2019-08-09 19:20 | 1276 | 1283 | 1278
2019-08-09 19:30 | 1281 | 1282 | 1278
2019-08-09 19:40 | 1274 | 1278 | 1278
2019-08-09 19:50 | 1274 | 1271 | 1278
2019-08-09 20:00 | 1268 | 1261 | 1252
2019-08-09 20:10 | 1259 | 1253 | 1252
2019-08-09 20:20 | 1261 | 1248 | 1252
2019-08-09 20:30 | 1254 | 1247 | 1252
2019-08-09 20:40 | 1253 | 1249 | 1252
2019-08-09 20:50 | 1251 | 1256 | 1252
2019-08-09 21:00 | 1261 | 1267 | 1267
2019-08-09 21:10 | 1262 | 1277 | 1267
2019-08-09 21:20 | 1268 | 1280 | 1267
2019-08-09 21:30 | 1262 | 1276 | 1267
2019-08-09 21:40 | 1249 | 1266 | 1267
2019-08-09 21:50 | 1236 | 1250 | 1267
2019-08-09 22:00 | 1218 | 1227 | 1159
2019-08-09 22:10 | 1182 | 1202 | 1159
2019-08-09 22:20 | 1166 | 1178 | 1159
2019-08-09 22:30 | 1150 | 1156 | 1159
2019-08-09 22:40 | 1128 | 1136 | 1159
2019-08-09 22:50 | 1113 | 1118 | 1159
2019-08-09 23:00 | 1097 | 1100 | 1047
2019-08-09 23:10 | 1081 | 1084 | 1047
2019-08-09 23:20 | 1063 | 1066 | 1047
2019-08-09 23:30 | 1051 | 1048 | 1047
2019-08-09 23:40 | 1038 | 1029 | 1047
2019-08-09 23:50 | 1021 | 1009 | 1047
2019-08-10 | 1001 | 988 | 933
2019-08-10 00:10 | 982 | 967 | 933
2019-08-10 00:20 | 965 | 948 | 933
2019-08-10 00:30 | 949 | 930 | 933
2019-08-10 00:40 | 934 | 914 | 933
2019-08-10 00:50 | 921 | 899 | 933
2019-08-10 01:00 | 906 | 886 | 852
2019-08-10 01:10 | 888 | 874 | 852
2019-08-10 01:20 | 876 | 862 | 852
2019-08-10 01:30 | 865 | 851 | 852
2019-08-10 01:40 | 849 | 840 | 852
2019-08-10 01:50 | 842 | 830 | 852
2019-08-10 02:00 | 832 | 820 | 795
2019-08-10 02:10 | 827 | 811 | 795
2019-08-10 02:20 | 812 | 803 | 795
2019-08-10 02:30 | 806 | 794 | 795
2019-08-10 02:40 | 799 | 787 | 795
2019-08-10 02:50 | 790 | 779 | 795
2019-08-10 03:00 | 788 | 772 | 757
2019-08-10 03:10 |  | 766 | 757
2019-08-10 03:20 |  | 761 | 757
2019-08-10 03:30 |  | 756 | 757
2019-08-10 03:40 |  | 752 | 757
2019-08-10 03:50 |  | 749 | 757

## solar generation
island | name | bus_connection | space_km2 | ratio | pro_rata_gen | sensible_gen | sensible area
Mallorca | Llubi | 8 | 10 | 0.17241 | 741.8966 | 224.6552 | 3.0281
Mallorca | Murterar | 9 | 9 | 0.15517 | 667.7069 | 202.1897 | 2.7253
Mallorca | Es Bessons (220) | 10 | 9 | 0.15517 | 667.7069 | 202.1897 | 2.7253
Menorca | Cala en Bosch | 13 | 15 | 0.25862 | 1112.8448 | 336.9828 | 4.5422
Menorca | Cuitadella | 14 | 15 | 0.25862 | 1112.8448 | 336.9828 | 4.5422

## summer winter
Summer
Majorca | 952.6
Minorca | 113.2
Ibiza | 218.7
Formantera | 12
Total | 1297.4
Winter
Majorca | 738.6
Minorca | 64.6
Ibiza | 134.8
Formantera | 7.8
Total | 945.8

## Sheet5
TIME | MW
0 | 0
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 100.8064
8 | 614.5169
9 | 1427.7651
10 | 2155.5657
11 | 2713.1577
12 | 3063.2359
13 | 3214.459
14 | 3187.4108
15 | 2960.1067
16 | 2536.7365
17 | 1922.5603
18 | 1160.1838
19 | 392.7865
20 | 26.2592
21 | 0
22 | 0
23 | 0

## Sheet6
TIME | MW dem
0 | 994
0.16667 | 970
0.33333 | 950
0.5 | 936
0.66667 | 920
0.83333 | 903
1 | 888
1.1667 | 875
1.3333 | 861
1.5 | 849
1.6667 | 838
1.8333 | 828
2 | 816
2.1667 | 809
2.3333 | 799
2.5 | 789
2.6667 | 786
2.8333 | 781
3 | 773
3.1667 | 766
3.3333 | 762
3.5 | 759
3.6667 | 752
3.8333 | 748
4 | 739
4.1667 | 736
4.3333 | 736
4.5 | 730
4.6667 | 729
4.8333 | 723
5 | 724
5.1667 | 729
5.3333 | 727
5.5 | 729
5.6667 | 730
5.8333 | 737
6 | 745
6.1667 | 758
6.3333 | 768
6.5 | 774
6.6667 | 776
6.8333 | 784
7 | 794
7.1667 | 820
7.3333 | 835
7.5 | 855
7.6667 | 880
7.8333 | 890
8 | 922
8.1667 | 954
8.3333 | 977
8.5 | 998
8.6667 | 1018
8.8333 | 1040
9 | 1063
9.1667 | 1087
9.3333 | 1110
9.5 | 1131
9.6667 | 1151
9.8333 | 1166
10 | 1183
10.1667 | 1198
10.3333 | 1208
10.5 | 1219
10.6667 | 1221
10.8333 | 1225
11 | 1228
11.1667 | 1237
11.3333 | 1236
11.5 | 1240
11.6667 | 1240
11.8333 | 1240
12 | 1247
12.1667 | 1255
12.3333 | 1255
12.5 | 1261
12.6667 | 1265
12.8333 | 1271
13 | 1277
13.1667 | 1279
13.3333 | 1289
13.5 | 1297
13.6667 | 1295
13.8333 | 1292
14 | 1292
14.1667 | 1288
14.3333 | 1289
14.5 | 1282
14.6667 | 1280
14.8333 | 1275
15 | 1271
15.1667 | 1257
15.3333 | 1256
15.5 | 1247
15.6667 | 1241
15.8333 | 1232
16 | 1237
16.1667 | 1238
16.3333 | 1234
16.5 | 1235
16.6667 | 1235
16.8333 | 1238
17 | 1236
17.1667 | 1240
17.3333 | 1248
17.5 | 1250
17.6667 | 1253
17.8333 | 1250
18 | 1254
18.1667 | 1264
18.3333 | 1264
18.5 | 1265
18.6667 | 1269
18.8333 | 1271
19 | 1273
19.1667 | 1274
19.3333 | 1276
19.5 | 1281
19.6667 | 1274
19.8333 | 1274
20 | 1268
20.1667 | 1259
20.3333 | 1261
20.5 | 1254
20.6667 | 1253
20.8333 | 1251
21 | 1261
21.1667 | 1262
21.3333 | 1268
21.5 | 1262
21.6667 | 1249
21.8333 | 1236
22 | 1218
22.1667 | 1182
22.3333 | 1166
22.5 | 1150
22.6667 | 1128
22.8333 | 1113
23 | 1097
23.1667 | 1081
23.3333 | 1063
23.5 | 1051
23.6667 | 1038
23.8333 | 1021

## Sheet7
TIME | MW dem | MW gen
0 | 994 | 0
0.16667 | 970
0.33333 | 950
0.5 | 936
0.66667 | 920
0.83333 | 903
1 | 888 | 0
1.1667 | 875
1.3333 | 861
1.5 | 849
1.6667 | 838
1.8333 | 828
2 | 816 | 0
2.1667 | 809
2.3333 | 799
2.5 | 789
2.6667 | 786
2.8333 | 781
3 | 773 | 0
3.1667 | 766
3.3333 | 762
3.5 | 759
3.6667 | 752
3.8333 | 748
4 | 739 | 0
4.1667 | 736
4.3333 | 736
4.5 | 730
4.6667 | 729
4.8333 | 723
5 | 724 | 0
5.1667 | 729
5.3333 | 727
5.5 | 729
5.6667 | 730
5.8333 | 737
6 | 745 | 0
6.1667 | 758
6.3333 | 768
6.5 | 774
6.6667 | 776
6.8333 | 784
7 | 794 | 100.8064
7.1667 | 820
7.3333 | 835
7.5 | 855
7.6667 | 880
7.8333 | 890
8 | 922 | 614.5169
8.1667 | 954
8.3333 | 977
8.5 | 998
8.6667 | 1018
8.8333 | 1040
9 | 1063 | 1427.7651
9.1667 | 1087
9.3333 | 1110
9.5 | 1131
9.6667 | 1151
9.8333 | 1166
10 | 1183 | 2155.5657
10.1667 | 1198
10.3333 | 1208
10.5 | 1219
10.6667 | 1221
10.8333 | 1225
11 | 1228 | 2713.1577
11.1667 | 1237
11.3333 | 1236
11.5 | 1240
11.6667 | 1240
11.8333 | 1240
12 | 1247 | 3063.2359
12.1667 | 1255
12.3333 | 1255
12.5 | 1261
12.6667 | 1265
12.8333 | 1271
13 | 1277 | 3214.459
13.1667 | 1279
13.3333 | 1289
13.5 | 1297
13.6667 | 1295
13.8333 | 1292
14 | 1292 | 3187.4108
14.1667 | 1288
14.3333 | 1289
14.5 | 1282
14.6667 | 1280
14.8333 | 1275
15 | 1271 | 2960.1067
15.1667 | 1257
15.3333 | 1256
15.5 | 1247
15.6667 | 1241
15.8333 | 1232
16 | 1237 | 2536.7365
16.1667 | 1238
16.3333 | 1234
16.5 | 1235
16.6667 | 1235
16.8333 | 1238
17 | 1236 | 1922.5603
17.1667 | 1240
17.3333 | 1248
17.5 | 1250
17.6667 | 1253
17.8333 | 1250
18 | 1254 | 1160.1838
18.1667 | 1264
18.3333 | 1264
18.5 | 1265
18.6667 | 1269
18.8333 | 1271
19 | 1273 | 392.7865
19.1667 | 1274
19.3333 | 1276
19.5 | 1281
19.6667 | 1274
19.8333 | 1274
20 | 1268 | 26.2592
20.1667 | 1259
20.3333 | 1261
20.5 | 1254
20.6667 | 1253
20.8333 | 1251
21 | 1261 | 0
21.1667 | 1262
21.3333 | 1268
21.5 | 1262
21.6667 | 1249
21.8333 | 1236
22 | 1218 | 0
22.1667 | 1182
22.3333 | 1166
22.5 | 1150
22.6667 | 1128
22.8333 | 1113
23 | 1097 | 0
23.1667 | 1081
23.3333 | 1063
23.5 | 1051
23.6667 | 1038
23.8333 | 1021